OFFICE OF CHIEF COMMISSIONER FOR PERSONS WITH DISABILITIES

Subject:	Work of making one toilet accessible for persons with disabilities

– Inviting quotations – reg.

******

Office of Chief Commissioner for Persons with Disabilities invites quotations for making one toilet accessible for persons with disabilities in its office at Sarojini House, 6 Bhagwan Dass Road, New Delhi.

2.	Firms having experience in developing disabled friendly infrastructure and have executed similar work may submit sealed quotations in the office of Chief Commissioner for Persons with Disabilities, Sarojini House, 6 Bhagwan Dass Road, New Delhi – 110 001 in the format at Annexure ‘A’ by 01.12.2011 alongwith the documents in support of its experience of having developed disabled friendly infrastructure and PAN No. of the firm

3.	General Terms & Conditions

- The firm should submit quotation with complete details of material proposed to be used.

- The rates quoted would be valid for a period of 90 days.

- The firm may depute its representative to inspect the site.

- The firm should be in a position to carry out the work within 15 days.

4.	For any further information, Mrs. Geeta Marwah, Desk Officer (# 23386054, 23386154) may be contacted.

Sd/-

(T.D. Dhariyal)

Dy. Chief Commissioner

Annexure – A

Details of works

| S. No. | Description of Item | Quantity | Rate (in `) | Amount (in `) |
| --- | --- | --- | --- | --- |
| 1. | Widening of door to 900 mm. Job will include removing the existing door and providing new door of required dimensions with co-related accessories. | 01 job |  |  |
| 2 | Installation of signage board on the door, as per prescribed norms | 01 no. |  |  |
| 3. | Installation of tectile map as per prescribed norms to facilitate persons with visual impairment | 01 no. |  |  |
| 4 | Installation of Grab Bars as per prescribed specifications. L-Shape grab bar Door grab bar Movable hinged grab bar | 01 no. 03 no. 01 no. |  |  |
| 5 | Providing taps as per prescribed norms | 03 nos. |  |  |
| 6 | Providing mirror as per prescribed norms | 01 no. |  |  |
| 7 | Shifting location of W.C. seat (floor mounted) so that clear area is available for parking the wheelchair, which would include dismantling, repair, replacement as well as providing required new accessories. | 01 job |  |  |

Sd/-

(T.D. Dhariyal)

Dy. Chief Commissioner